## 1. Facility LOS Template
Service | Program Service Objectives | Community Levels of Service | Service Division | Supporting Asset Classes | Target Asset Levels of Service (by Asset Class) | Current Asset Levels of Service
[6 empty] | Asset Class Average | Distribution by Asset Rating
[7 empty] | % | % | % | % | %
[5 empty] | Condition | Condition
[5 empty] | Performance | Performance
[5 empty] | Condition | Condition
[5 empty] | Performance | Performance
[5 empty] | Interior Building Services Operational Functionality = Good | Fair |  |  | 50 | 50
[5 empty] | Interior Building Services Capacity to Meets Demands = Good | Good | 50 | 50
[5 empty] | Exterior Building Services Operational Functionality = Good | Good |  | 100
[5 empty] | Exterior Building Services Capacity to Meet Demands = Good | Fair |  | 100 | 40 | 10
[5 empty] | Interior Working Spaces/Features Operational Functionality = Good | Good |  | 100
[5 empty] | Interior Working Spaces/Features Capacity to Meet Demands = Good | Good |  | 100
[5 empty] | Interior Working Amenities/Features Operational Functionality = Good | Fair |  | 50 | 50
[5 empty] | Exterior Spaces/Features Operational Functionality = Good | Fair |  | 50 | 50
[5 empty] | Exterior Spaces/Features Capacity to Meet Demands = Good | Fair |  | 50 | 50
[5 empty] | Operational Resiliency = Good | Good | 10 | 50 | 40
[5 empty] | Environmental Resiliency = Good | Good | 20 | 50 | 30
[5 empty] | Condition | Condition
[5 empty] | Performance | Performance
Note on A1: Consistent with Asset hierarchy
Note on B1: A general service statement reflecting the desired level of service to the customer. Sources: Strategic Plan, Council Directive. See examples in the catalogue
Note on C1: General service statements on what the customer expects to receive from the service. See examples in the catalogue.
Note on D1: Should be consistent with asset hierarchy
Note on E1: Should be consistent with asset hierarchy
Note on F1: Refer to Condition Rating and General Performance Rating sheets for ratings and recommended targets.
Note on G2: The averaged level of service for the asset class.
Note on H2: Breakdown of the assets per the ratings and ranges on the Condition Rating and General Performance Rating sheets.

## 2.ExampleFacility LOS Template
Service | Program Service Objectives | Community Levels of Service | Service Division | Supporting Asset Classes | Target Asset Levels of Service (by Asset Class) | Current Asset Levels of Service
[6 empty] | Asset Class Average | Distribution by Asset Rating
[7 empty] | % | % | % | % | %
Community Services | Municipal buildings will be safe, accessible, comfortable and welcoming to the public and staff. | Buildings are kept in good condition | Parks & Recreation | Recreation Centres | Condition | Condition
[5 empty] | Buiding Condition = FCI <5% | FCI = 7% |  | 70 | 30
[5 empty] | Property Condition = FCI <5% | FCI = 8% |  | 80 | 10 | 10
[5 empty] | Performance | Performance
[5 empty] | Interior Building Services Operational Functionality = Good | Good |  | 100
[5 empty] | Interior Building Services Capacity to Meets Demands = Good | Good |  | 100
[5 empty] | Exterior Building Services Operational Functionality = Good | Good |  | 100
|  | Buildings are safe, accessible and easy to navigate. |  |  | Exterior Building Services Capacity to Meet Demands = Good | Good |  | 100
[5 empty] | Interior Public Spaces/Features Operational Functionality = Good | Good |  | 100
[5 empty] | Interior Public Spaces/Features Capacity to Meet Demands = Good | Good |  | 100
[5 empty] | Interior Public Amenities/Features Interior Operational Functionality = Good | Fair |  | 50 | 50
[5 empty] | Interior Working Spaces/Features Operational Functionality = Good | Fair |  | 50 | 50
[5 empty] | Interior Working Spaces/Features Capacity to Meet Demands = Good | Fair |  | 50 | 50
[5 empty] | Interior Working Amenities/Features Operational Functionality = Good | Good | 10 | 50 | 40
[5 empty] | Exterior Spaces/Features Operational Functionality = Good | Good | 20 | 50 | 30
|  | The building lands are aesthetically pleasing and well maintained. |  |  | Exterior Spaces/Features Capacity to Meet Demands = Good | Fair |  | 50 | 50
[5 empty] | Operational Resiliency = Good | Good |  | 100
[5 empty] | Environmental Resiliency = Good | Good |  | 100
Protection Services |  |  | Fire Services | Fire Halls | Condition | Condition
[5 empty] | Buiding Condition = FCI <5% | FCI = 5% | 10 | 80 | 10
[5 empty] | Property Condition = FCI <5% | FCI = 8% | 10 | 60 | 30
Parking space is adequate and well maintained
[5 empty] | Performance | Performance
[5 empty] | Interior Building Services Operational Functionality = Good | Fair |  |  | 50 | 50
[5 empty] | Interior Building Services Capacity to Meets Demands = Good | Good | 50 | 50
[5 empty] | Exterior Building Services Operational Functionality = Good | Good |  | 100
[5 empty] | Exterior Building Services Capacity to Meet Demands = Good | Fair |  | 100 | 40 | 10
[5 empty] | Interior Working Spaces/Features Operational Functionality = Good | Good |  | 100
[5 empty] | Interior Working Spaces/Features Capacity to Meet Demands = Good | Good |  | 100
|  | The internal building environment is comfortable. |  |  | Interior Working Amenities/Features Operational Functionality = Good | Fair |  | 50 | 50
[5 empty] | Exterior Spaces/Features Operational Functionality = Good | Fair |  | 50 | 50
[5 empty] | Exterior Spaces/Features Capacity to Meet Demands = Good | Fair |  | 50 | 50
[5 empty] | Operational Resiliency = Good | Good | 10 | 50 | 40
[5 empty] | Environmental Resiliency = Good | Good | 20 | 50 | 30
Building design and technology are energy efficient
Roads |  |  | Roads Operations | Operations Yards | Condition | Condition
[5 empty] | Buiding Condition = FCI <5% | FCI = 5% | 20 | 70 | 10
[5 empty] | Property Condition = FCI <10% | FCI = 15% |  | 60 | 10 | 20 | 10
|  | All buildings have adequate security. |  |  | Performance | Performance
[5 empty] | Interior Building Services Operational Functionality = Good | Fair |  |  | 50 | 50
[5 empty] | Interior Building Services Capacity to Meets Demands = Good | Good | 50 | 50
[5 empty] | Exterior Building Services Operational Functionality = Good | Poor |  |  | 40 | 60
[5 empty] | Exterior Building Services Capacity to Meet Demands = Good | Fair |  | 100 | 40 | 10
[5 empty] | Interior Public Spaces/Features Operational Functionality = Good | Good |  | 100
[5 empty] | Interior Public Spaces/Features Capacity to Meet Demands = Good | Good |  | 100
[5 empty] | Interior Working Spaces/Features Operational Functionality = Good | Fair |  | 50 | 50
|  | Interior spaces are well maintained adequately sized. |  |  | Interior Working Spaces/Features Capacity to Meet Demands = Good | Fair |  | 50 | 50
[5 empty] | Interior Working Amenities/Features Operational Functionality = Good | Fair |  | 50 | 50
[5 empty] | Exterior Spaces/Features Operational Functionality = Good | Good | 10 | 50 | 40
[5 empty] | Exterior Spaces/Features Capacity to Meet Demands = Good | Good | 20 | 50 | 30
[5 empty] | Operational Resiliency = Good | Fair |  | 10 | 30 | 30
[5 empty] | Environmental Resiliency = Good | Fair |  |  | 100
Note on A1: Consistent with Asset hierarchy
Note on B1: A general service statement reflecting the desired level of service to the customer. Sources: Strategic Plan, Council Directive. See examples in the catalogue
Note on C1: General service statements on what the customer expects to receive from the service. See examples in the catalogue.
Note on D1: Should be consistent with asset hierarchy
Note on E1: Should be consistent with asset hierarchy
Note on F1: Refer to Condition Rating and General Performance Rating sheets for ratings and recommended targets.
Note on G2: The averaged level of service for the asset class.
Note on H2: Breakdown of the assets per the ratings and ranges on the Condition Rating and General Performance Rating sheets.

## 3. Serv Object CLOS Statements
Service | Examples of Service Objective Statements | Examples of Community Levels of Service
Recreation, Government, Library, Culture, Housing, Long Term Care, Fire, etc.. | Municipal buildings will be safe, accessible, comfortable and welcoming to the public and staff. | Buildings are kept in good condition
Buildings are safe, accessible and easy to navigate.
The building lands are aesthetically pleasing and well maintained.
Parking space is adequate and well maintained
The internal building environment is comfortable.
Building design and technology are energy efficient
All buildings have adequate security.
Interior spaces are well maintained adequately sized.

## 4. Cond Ratings Buildings
Asset Types | Notes for Determining Asset Levels of Service | Asset Condition Ratings and Corresponding Likelihood of Failure 1, 2, 3 |  |  |  |  | Additional Notes
|  | Likelihood of Failure Very Unlikely (Estimated beyond 20 yrs. or >10%) | Likelihood of Failure Unlikely (Estimated in 11-20 yrs. or 10%-30%) | Likelihood of Failure Possible (Estimated in 6-10 yrs. or 30%-60%) | Likelihood of Failure Likely (Estimated in 1-5 yrs. or 60%-90%) | Likelihood of Failure Very Likely or Certain (Estimated in less than 1 yr. or Now or <90%)
Municipal Buildings and Property including: - Town Hall - Community Centres - Administration Buildings - Fire Halls - Operations Works Yards - Treatment Plants - Pumping Stations - Maintenance Buildings - Storage Facilities | A target FCI = 5% is generally recommended for most facilities due to any combination of the following factors: - a high importance to community services - A high degree of public or staff use - a significant risk liability (health and safety, environment, financial cost, municipal reputation) - many building systems, structural components or the building itself are complex and additional time is necessary to plan and design the replacement or rehabilitation of the assets (say >5 years) - many building systems, building structural components or the building itself have a high value requiring time to accumulate necessary financing for full replacement, reconstruction or rehabilitation (say >5 years) - some building systems can benefit from early intervention strategies such as replacement of major components before systems become too dysfunctional to make such strategies feasible - many buildings have moderate to high operating costs and therefore, should operate at high degree of efficiency to prevent excessive operating costs A target of FCI between 6% and 10% ("Fair") may be considered for some facilities due to any combination of the following factors: - a moderate or low importance to service delivery - a moderate or low degree of public or staff use - a moderate or low risk liability (health and safety, environment, financial cost, municipal reputation) - there is relatively little complexity of the building or building systems thus requiring less planning and design time (< 5 years) - a moderate value to replace, reconstruct or rehabilitate the building or building assets thus requiring a shorter time to accumulate financing (say < 5 years) - Operating costs are relatively low | FCI = 1-2% Very Good - Fully functional. - All components and equipment operate and are well maintained. - New appearance . No evidence of deterioration or discolouration - Minor aesthetic improvements like painting - Regular maintenance only - No or very few public complaints - Staff morale is very positive | FCI = 3%-5% Good - Fully functional - All components and equipment operate with some minor wear and tear. - Limited and manageable component and equipment failure may occur - Showing minor wear and tear and minor deterioration of surfaces. - Improvements such as painting, carpet replacement, caulking and minor roof repair may be necessary - Increased regular maintenance and inspection may required. - Few and minor Public complaints - Staff morale is positive | FCI = 6% -10% Fair - Beginning to show wear - Component and equipment failures are more frequent - Appearance affected by minor cracking, staining or minor leakage. Minor damage to wall/ceiling finishes. - Improvements such as replacements of specific system components such as boilers and windows or interior renovations - Regular maintenance and inspections are essential with additional maintenance required at times - More frequent and moderate levels of Public complaints - Staff moral may be affected | FCI = 11% - 30% Poor - Obvious and increasing wear and deterioration - Frequent component and equipment failures. - Occasional building shut down is possible - Appearance affected by cracking, staining or breakdowns. Finishes of poor quality and often damaged. - Replacements of major systems such as HVAC, plumbing, building envelop is required - Increasingly frequent reactive maintenance in addition to regular maintenance activities - High and frequent levels of Public complaints - Staff morale is negative | Very Likely: FCI >30% Critical - Very worn and obviously increasing levels of deterioration - Component and equipment failure occurring frequently - Building systems may be inoperable or unsafe - Management risk is high - Occupant health and safety is a concern - Occasional building shut down likely to occur - Appearance affected by cracking, staining or breakdowns. Finishes badly marked and damaged - Replacement of multiple building systems required such as mechanical and electrical systems, structural and architectural elements - Building may not be cost effective to restore - Maintenance is almost completely reactive and high - Public complaints are very high, frequent and very difficult to manage - Staff morale is very low | Likelihood of failure is measured in the context of major building systems or structural components that may impact services or threaten occupant health and safety. Likelihood of failure does not necessarily measure the likelihood of total building failure. Furthermore, due to the complexity of buildings, a change in the condition of building systems will have a variable rather than directly linear affect to the Facility Condition Index (FCI). Note the current condition and estimated remaining service life of building and property components are assessed by professional inspectors as part of a building condition assessment (BCA). Likelihood of Failure estimates should be reassessed in conjunction with updated BCAs as opposed to a linear time progression.
*Notes: 1. | Likelihood of Failure is based on the estimated remaining timespan that assets, asset components or asset systems are expected to function at levels that are still adequate, safe, reliable and viable to provide desired Community Levels of Service (CLOS) but at increasing levels of risk as assets/asset components degrade as the end of service life approaches. The total lifespan of an asset often extends beyond estimated useful service life; however, the assets may no longer be sufficient, safe, viable or reliable to provide safe and desired community services. Note that Likelihood of Failure provides high level estimates for strategic risk assessments purposes and can vary on an asset by asset basis according the environment, soil conditions, design, materials and use.
2. | Condition ranges and Likelihood of Failure estimates are intended for strategic analysis and planning and can vary by municipality and by the assets themselves according design, construction, materials, use and environmental conditions.
3. | ERUSL = Estimated remaining useful service life

## 5, General Performance Ratings
Asset Performance Ratings and Corresponding Likelihood of Failure (All Assets)1, 2
LoF | Very Unlikely Current Likelihood of Failure >10% | Unlikely Current Likelihood of Failure = 10%-30% | Possible Current Likelihood of Failure = 30%-60% | Likely Current Likelihood of Failure = 60%-90% | Very Likely or Certain Current Likelihood of Failure <90%
Perf. | VERY GOOD | GOOD | FAIR | POOR | VERY POOR
General Descrip. | Exceeds or fully meets performance requirements. No affect to services | Meets performance requirements. No affect to services | Just meets performance requirements with some limitations Possible minor affects to services. | Does not meet several performance requirements in whole or in part. Minor to moderate and/or sporadic affects to services | Does not meet many or most performance requirements as a whole. Moderate to significant and/or ongoing affects to services.
Operational Functionality | - Fully meets or exceeds current minimum community service level requirements in a fully efficient and effective manner. - Exceeds minimum current design and/or safety requirements - No operational problems experienced. - No affects on community service levels or stakeholders - Fully complies with current Regulations and/or Standards3. - No desirable elements are missing, and all required elements are present. - Technology is state-of-the art/best available - Resource consumption: 100% of baseline efficiency | - Meets current minimum community service level requirements in an efficient and effective manner. - Meets minimum current design and/or safety requirements - Occasional operational problems may be experienced. - No noticeable affects on overall community service levels and/or stakeholders - Complies with Regulations and/or Standards3 with possibly some "grandfathering" where permitted by Regulation for certain standards. - A few desirable elements may be missing, but all required elements are present. - Technology is industry standard - Resource consumption: 91% to 100% of baseline efficiency | - Just meets/essentially satisfies the current minimum community service level requirements with possibly occasional or minor constraints, and/or some inefficiencies and ineffectiveness present. - Just meets minimum current design and/or safety requirements possibly with some added monitoring, extra controls or maintenance. - Operational problems may occur more frequently. - There may be some minor affects to community service levels and/or stakeholders - Meets essential Regulations and/or Standards3 with "grandfathering" where permitted by Regulation for certain standards. - A few desirable elements and one or two required elements are missing. - Technology is adequate but may not be efficient. - Resource consumption: 76 to 90% of baseline efficiency | - A limited ability to meet current minimum community service level requirements with performance frequently below minimum service and efficiency requirements. - Does not fully meet minimum current design and/or safety requirements in whole or in part. Significant monitoring, extra controls or maintenance actions may be required to maintain community services. - Significant operational problems are evident and occur frequently with perceivable and possibly moderate affects to community services - May not meet or partially meets essential Regulations and/or Standards3 which may not be permitted "grandfathering" by Regulation or are unsafe or impractical to continue "grandfathering" - Several desirable elements and one or two required elements are missing. - Technology is nearing obsolescence. May be inefficient, prone to breakdown with no vendor support or original equipment manufacturer parts available. - Resource consumption: 51 to 75% of baseline efficiency | - Ability to meet current minimum community service level requirements is deficient and unsustainable with performance significantly and continuously below minimum service and efficiency requirements. - Does not most or all meet minimum current design and/or safety requirements in whole. Monitoring, extra controls or maintenance actions are not practical or feasible to maintain community services. - Operational problems are serious and ongoing and affecting community services. - Does not meet essential or critical Regulations and/or Standards3, and "grandfathering" cannot be permitted either by Regulation or due to safety or practical concerns. - Many desirable and several required elements are missing. - Technology is obsolete and/or non-functional and replacement parts may be unavailable - Resource consumption: Less than 50% of baseline efficiency
Capacity to Meet Demands | - Capacity fully meets or exceeds current demands and minimum community service level requirements - No operational problems experienced. - No affects on community service levels or stakeholders | - Capacity meets current demands and minimum community service level requirements - Minor and occasional operational problems may be experienced. - No noticeable affects on overall community service levels and/or stakeholders | - Capacity just meets/essentially satisfies current demands and minimum community service level requirements, possibly with occasional or minor constraints and/or reduced efficiency. - Operational problems may occur more frequently. - There may be some minor or modest affects to community service levels and/or stakeholders | - Capacity is frequently below demands and/or minimum community service level requirements. - Significant operational problems are evident and can occur frequently. - There are noticeable and possibly moderate affects to community service levels and/or stakeholders. | - Capacity is significantly and continuously below demands and/or minimum community service level requirements. - Operational problems are serious and ongoing. - There are noticeable and possibly significant affects to community service levels and/or stakeholders.
Operational Resiliency | - Fully meets or exceeds the minimum emergency or service safeguard requirements for back-up systems, spare capacity, alternative supply or system/asset security. - Maximum protection or security from acts of vandalism, trespassing, theft, assault or terrorism. | - Meets the minimum emergency or service safeguard requirements for back-up systems, spare capacity, alternative supply or system/asset security. - Adequate protection or security from acts of vandalism, trespassing, theft, assault or terrorism. | - Provides acceptable but limited emergency or service safeguard requirements for back-up systems, spare capacity, alternative supply or system/asset security. - Reasonable but limited protection or security from acts of vandalism, trespassing, theft, assault or terrorism. | - Provides partial but inadequate emergency or service safeguard requirements for back-up systems, spare capacity, alternative supply or system/asset security. - Partial protection or security from acts of vandalism, trespassing, theft, assault or terrorism. | - Provides marginal or no emergency or service safeguard requirements for back-up systems, spare capacity, alternative supply or system/asset security. - Marginal or no protection or security from acts of vandalism, trespassing, theft, assault or terrorism.
Environmental Resiliency | - Assets are fully resilient to environmental stresses; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc.. - Fully meets climate change mitigation requirements. | - Assets are adequately resilient to environmental stresses; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc.. - Meets almost all climate change mitigation requirements. | - Assets are resilient with some limitations to environmental stresses; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc.. - Provides acceptable but limited protections from climate change. | - Asset resiliency to environmental stresses is partially lacking; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc.. - Provides partial but inadequate protections from climate change. | - Asset resiliency to environmental stresses is mostly or completely lacking; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc.. - Provides marginal or no protections from climate change
Notes: 1. | "Likelihood of Failure" is estimated as a percentage based on current status of asset performance.
2. | When assessing Performance of an entire Asset Class, rate where the balance of the assets score (either under one rating or between several).
3. | "Standards" can include measures set through internal poli+A5:F11cy, be an industry guideline, health and safety standard, a design, material or appearance standard, be a factor or measure as part of an Asset Levels of Service, or be an Asset Level of Service itself.

## 6. Building Perf Criteria
Asset Types | Notes on Performance Asset Levels of Service | ALOS | Criteria to Support ALOS Target1,2 (To be applied as appropriate for each Building Asset Class)
Municipal Buildings and Property including: - Town Hall - Community Centres - Administration Buildings - Fire Halls - Operations Works Yards - Treatment Plants - Pumping Stations - Maintenance Buildings | A target of "Good" for the Performance Asset Levels of Service is recommended due to: - high importance to services - level of risk liability - the desire to provide efficient and effective service delivery at minimum cost - the necessity to meet regulatory requirements and/or design standards Where performance levels are assessed to be "Fair", it is likely that assets will continue to function adequately to meet minimum service requirements with possibly some limitations and elevated levels of risk and operating costs. Possible actions: Determine if a performance level of "Fair" is adequate for now and seek practical opportunities to rectify the deficiencies that are deemed feasible to address (e.g. when the asset is being replaced or reconstructed). Where performance levels are assessed to be "Poor" or "Very Poor" determine the most feasible and appropriate actions/improvements and implement at the earliest practical opportunity. | Operational Functionality | Efficient and effective service delivery and compliance with standards: - HVAC systems providing efficient, consistent and comfortable temperatures during all seasons - Exterior and interior lighting is adequate and efficient - Fire protection systems are operating adequately - Elevator systems are operating properly - Building and/or room layout is suitable for services being provided - Wayfinding is easy and efficient - Public access is easy and accommodating - Building design complies with applicable Provincial and Municipal Codes (Ministry of Labour, Building, Fire and Electrical, ADOA) - Wi-Fi/Internet availability - Overall efficiency of energy use
|  | Capacity to Meet Demands | Capacity to meet minimum service demands (Consider numbers of rooms/facilities spaces and overall adequacy of space capacity and number of amenities to meet building service requirements): - Meeting rooms - Common areas - Elevators - Areas servicing the public - Offices/staff working areas - Kitchens - Staff rooms and eating areas - Recreational services areas - Parking areas Utility services capacity: - sanitary sewer - water - storm water drainage - electricity
|  | Operational Resiliency | - Standby power generation as required - Standby/spare equipment - Alternative/multiple power feeds - Adequate site and facility security
|  | Environmental Resiliency | - Facilities are protected from 100 year storm events - Climate change adaptation measures are in place
Notes: 1. | Consider the level of conformance to the building performance criteria in the context of the "General Performance Ratings".
2. | This evaluation can be used: a) To inform a high-level "desktop exercise" to generally measure the ability of the asset classes to meet community service levels, or, b) To measure the performance of asset systems or assets to determine risk to services and the priority and scope of improvements. Independent professional assessments may be required, where practical and desirable to investigate asset class or individual asset compliance to building codes and regulations.

## 7. Facility Asset Class Perf.
|  |  |  | Asset Class Name | [7 empty] | Asset Class Name | [7 empty] | Asset Class Name | [7 empty] | Asset Class Name
Asset Types/Groups8 | ALOS | Context for Evaluating Performance Criteria1,2 | Criteria to Support Proposed ALOS Target1, 2 (where information is available) | Weightings based on importance to ALOS5 (Optional) | Distribution of Asset Ratings for each ALOS3, 4 | [6 empty] | Weightings based on importance to ALOS5 (Optional) | Distribution of Asset Ratings for each ALOS3, 4 | [6 empty] | Weightings based on importance to ALOS5 (Optional) | Distribution of Asset Ratings for each ALOS3, 4 | [6 empty] | Weightings based on importance to ALOS5 (Optional) | Distribution of Asset Ratings for each ALOS3, 4
[5 empty] | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL |  | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL |  | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL |  | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL
Interior Building Services | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Building energy use is efficient
- Building meets greenhouse gas emission targets
- Building technology is efficient
- Building technology is current
- HVAC systems are efficient year round
- HVAC technology is current/code compliant
- Interior lighting is sufficient for all areas
- Interior lighting technology is current/code compliant
- Fire suppression system is efficient
- Fire suppression system technology is current/code compliant
- Fire alarm system technology is current/code compliant
- Electrical system is efficient
- Electrical system technology is current/code compliant
- Domestic water systems are efficient
- Domestic water systems technology is current/code compliant
- Wastewater systems are efficient
- Wastewater system technology is current/code compliant
- Elevator systems operate efficiently
- Elevator systems technology is current/code compliant
- Other
- Other
- Other
- Other
|  |  | Average Interior Building Services Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Building Services Operational Functionality
Exterior Building Services |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Electricity system is efficient
- Electricity system is current/code compliant
- Lighting system is sufficient for all areas
- Lighting system is current/code compliant
- Fire suppression system is efficient
- Fire suppression system is current/code compliant
- Domestic water system is efficient
- Wastewater system is efficient
- Storm water drainage systems are efficient
- Solid waste disposal is efficient
- Other
- Other
- Other
- Other
|  |  | Average Exterior Building Services Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Exterior Building Services Operational Functionality
Interior Public Spaces/Features |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Washrooms
- Public Meeting Rooms
- Auditoriums
- Gymnasiums
- Pools
- Rinks
- Showers/Change Rooms
- Audience Areas/Stands
- Library Areas
- Fitness Rooms
- Information Areas
- Kitchens
- Confectionary Areas
- Common Areas
- Resident Living Spaces/Areas
- Other
- Other
- Other
- Other
|  |  | Average Interior Public Spaces/Features Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Public Spaces/Features Operational Functionality
Interior Public Amenities/Features |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Wayfinding is easy and efficient
- Public access is easy and accommodating
- Fully compliant with AODA
- Wi-Fi/Internet is adequate
- Other
- Other
- Other
- Other
|  |  | Average Interior Public Amenities/Features Interior Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Public Amenities/Features Interior Operational Functionality
Interior Working Spaces/Features for Municipal staff and Council |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Offices
- Staff Meeting Rooms
- Washrooms
- Kitchens
- Cafeterias/Eating Areas
- Council Chambers
- Garages
- Storage Rooms/Areas
- Maintenance Rooms/Areas
- Electrical Rooms
- Mechanical Rooms
- Control Rooms
- Common Areas
- Other
- Other
- Other
- Other
|  |  | Average Interior Working Spaces/Features Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Working Spaces/Features Operational Functionality
Interior Working Amenities for Municipal Staff and Council |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Fully compliant with AODA
- Wi-Fi/Internet is adequate
- Other
- Other
- Other
- Other
|  |  | Average Interior Working Amenities/Features Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Working Amenities/Features Operational Functionality
Exterior Spaces/Features/ Amenities |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Wayfinding is easy and efficient
- Wayfinding is AODA compliant
- Pedestrian access is easy and accommodating
- Pedestrian access is safe and well lighted
- Pedestrian access is AODA compliant
- Vehicular access is easy and accommodating
- Vehicular access is safe and well lighted
- Accommodates efficient movement and parking of vehicles
- Playground areas are modern and accommodating
- Playground areas are safe and well lighted
- Playground areas are AODA compliant
- Recreational spaces/areas are modern and accommodating
- Recreational spaces/areas are safe and well lighted
- Recreational spaces/areas are AODA compliant
- Appropriate layout and appearance of landscaping
- Other
- Other
- Other
- Other
|  |  | Average Exterior Spaces/Features Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Exterior Spaces/Features Operational Functionality
Special Building Services |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
|  |  | Average Special Building Services Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Special Building Services Operational Functionality
Interior Building Services | Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Building technology is adequate
- HVAC system capacity is adequate
- Fire suppression system capacity is adequate
- Electrical system capacity is adequate
- Domestic water system capacity is adequate
- Wastewater system capacity is adequate
- Elevator system capacity is adequate
- Other
- Other
- Other
- Other
|  |  | Average Interior Building Services Capacity to Meets Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Building Services Capacity to Meets Demands
Exterior Building Services |  | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Electricity system
- Fire suppression system
- Domestic water system
- Wastewater system
- Storm water drainage systems
- Solid waste disposal
- Other
- Other
- Other
- Other
|  |  | Average Exterior Building Services Capacity to Meet Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Exterior Building Services Capacity to Meet Demands
Interior Public Spaces/Features |  | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Washrooms
- Public Meeting Rooms
- Auditoriums
- Gymnasiums
- Pools
- Rinks
- Showers/Change Rooms
- Audience Areas/Stands
- Library Areas
- Fitness Rooms
- Information Areas
- Kitchens
- Confectionary Areas
- Common Areas
- Resident Living Spaces/Areas
- Other
- Other
- Other
- Other
|  |  | Average Interior Public Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Public Spaces/Features Capacity to Meet Demands
Interior Working Spaces/Features for Municipal staff and Council |  | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Offices
- Staff Meeting Rooms
- Washrooms
- Kitchens
- Cafeterias/Eating Areas
- Council Chambers
- Garages
- Storage Rooms/Areas
- Maintenance Rooms Areas
- Electrical Rooms
- Mechanical Rooms
- Control Rooms
- Common Areas
- Other
- Other
- Other
- Other
|  |  | Average Interior Working Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Working Spaces/Features Capacity to Meet Demands
Exterior Spaces/Features |  | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Parking Areas
- Pedestrian areas
- Playground Areas
- Recreational Areas/Spaces
- Other
- Other
- Other
- Other
|  |  | Average Exterior Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Exterior Spaces/Features Capacity to Meet Demands
Special Building Services |  | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
|  |  | Average Special Building Services Capacity to Meet Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Capacity to Meet Demands
Per Facility Class | Operational Resiliency | To what degree are minimum service requirements are maintained/protected with back-up systems, spare capacity or alternative supply. | - Standby power generation
- Standby/spare equipment
- Alternative/multiple power feeds
|  | To what extent are the facilities secure from acts of vandalism, trespassing, theft, assault or terrorism. | - Adequate interior facility security features
- Adequate site security features
|  |  | Average Operational Resiliency ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Operational Resiliency
Per Facility Class | Environmental Resiliency | To what extent the assets are resilient to environmental stresses; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc.. | - Facilities are protected from 100 year storm events
|  | To what extent are the facilities resilient to climate change. | - Climate change adaptation measures are in place
|  |  | Average Environmental Resiliency ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Environmental Resiliency
Total Performance | [10 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
Notes: 1. | ALOS criteria may require amendments according to building type and service functions.
2. | Consider the level of conformance to Operational Functionality, Capacity to Meet Demands, Operational Resiliency and Environmental Resiliency in the context of the General Performance Ratings (Tab 5).
3. | This evaluation is intended as a "desktop exercise" to evaluate each asset class based on inherent knowledge of the system and its current ability to meet community service levels. Where information or experienced judgement is not available to assess some criteria or the criteria is not applicable, mark "100" under "NA" (Not Available/Applicable) to remove this criteria from the evaluation. Consider if the missing data or information should be included as part of a data collection plan.
4. | Distribute the different performance as a percentage of the entire Asset Class.
5. | ALOS Performance Weightings
Weightings
| 1 | Unimportant
| 2 | Relatively Unimportant
| 3 | Relatively Important
| 4 | Important
| 5 | Very Important
6. | If weightings are to be applied, they must be applied to ALL the asset performance ratings.
7. | If additional rows or columns are required to be added, the sheet needs to be "Unprotected". This will allow formulas to be copied and pasted. There is no password to Unprotect the sheet.
8. | This worksheet can be used to evaluate up to four Facility Asset Classes. Replicate the sheet to evaluate additional Asset Classes.

## 8. Facility Asset Perf Eval.
|  |  |  | Asset Name |  |  | Asset Name |  |  | Asset Name |  |  | Asset Name
Asset Groups/Types7 | ALOS | Context for Evaluating Performance Criteria1,2 | Criteria to Support Proposed ALOS Target1, 2 (where information is available) | Weightings based on importance to ALOS3, 4 (Optional) | Asset Ratings for each ALOS | TOTAL | Weightings based on importance to ALOS3, 4 (Optional) | Asset Ratings for each ALOS | TOTAL | Weightings based on importance to ALOS3, 4 (Optional) | Asset Ratings for each ALOS | TOTAL | Weightings based on importance to ALOS3, 4 (Optional) | Asset Ratings for each ALOS | TOTAL
Interior Building Services | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Building energy use is efficient
- Building meets greenhouse gas emission targets
- Building technology is efficient
- Building technology is current
- HVAC systems are efficient year round
- HVAC technology is current/code compliant
- Interior lighting is sufficient for all areas
- Interior lighting technology is current/code compliant
- Fire suppression system is efficient
- Fire suppression system technology is current/code compliant
- Fire alarm system technology is current/code compliant
- Electrical system is efficient
- Electrical system technology is current/code compliant
- Domestic water systems are efficient
- Domestic water systems technology is current/code compliant
- Wastewater systems are efficient
- Wastewater system technology is current/code compliant
- Elevator systems operate efficiently
- Elevator systems technology is current/code compliant
- Other
- Other
- Other
- Other
|  |  | Interior Building Services Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Exterior Building Services |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Electricity system is efficient
- Electricity system is current/code compliant
- Lighting system is sufficient for all areas
- Lighting system is current/code compliant
- Fire suppression system is efficient
- Fire suppression system is current/code compliant
- Domestic water system is efficient
- Wastewater system is efficient
- Storm water drainage systems are efficient
- Solid waste disposal is efficient
- Other
- Other
- Other
- Other
|  |  | Exterior Building Services Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Interior Public Spaces/Features |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Washrooms
- Public Meeting Rooms
- Auditoriums
- Gymnasiums
- Pools
- Rinks
- Showers/Change Rooms
- Audience Areas/Stands
- Library Areas
- Fitness Rooms
- Information Areas
- Kitchens
- Confectionary Areas
- Common Areas
- Resident Living Spaces/Areas
- Other
- Other
- Other
- Other
|  |  | Interior Public Spaces/Features Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Interior Public Amenities/Features |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Wayfinding is easy and efficient
- Public access is easy and accommodating
- Fully compliant with AODA
- Wi-Fi/Internet is adequate
- Other
- Other
- Other
- Other
|  |  | Interior Public Amenities/Features Interior Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Interior Working Spaces/Features for Municipal staff and Council |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Offices
- Staff Meeting Rooms
- Washrooms
- Kitchens
- Cafeterias/Eating Areas
- Council Chambers
- Garages
- Storage Rooms/Areas
- Maintenance Rooms/Areas
- Electrical Rooms
- Mechanical Rooms
- Control Rooms
- Common Areas
- Other
- Other
- Other
- Other
|  |  | Interior Working Spaces/Features Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Interior Working Amenities for Municipal Staff and Council |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Fully compliant with AODA
- Wi-Fi/Internet is adequate
- Other
- Other
- Other
- Other
|  |  | Interior Working Amenities/Features Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Exterior Spaces/Features |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Wayfinding is easy and efficient
- Wayfinding is AODA compliant
- Pedestrian access is easy and accommodating
- Pedestrian access is safe and well lighted
- Pedestrian access is AODA compliant
- Vehicular access is easy and accommodating
- Vehicular access is safe and well lighted
- Accommodates efficient movement and parking of vehicles
- Playground areas are modern and accommodating
- Playground areas are safe and well lighted
- Playground areas are AODA compliant
- Recreational spaces/areas are modern and accommodating
- Recreational spaces/areas are safe and well lighted
- Recreational spaces/areas are AODA compliant
- Appropriate layout and appearance of landscaping
- Other
- Other
- Other
- Other
|  |  | Exterior Spaces/Features Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Special Building Services |  | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
|  |  | Special Building Services Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Total Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Interior Building Services | Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Building technology is adequate
- HVAC system capacity is adequate
- Fire suppression system capacity is adequate
- Electrical system capacity is adequate
- Domestic water system capacity is adequate
- Wastewater system capacity is adequate
- Elevator system capacity is adequate
- Other
- Other
- Other
- Other
|  |  | Interior Building Services Capacity to Meets Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Exterior Building Services |  | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Electricity system
- Fire suppression system
- Domestic water system
- Wastewater system
- Storm water drainage systems
- Solid waste disposal
- Other
- Other
- Other
- Other
|  |  | Exterior Building Services Capacity to Meet Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Interior Public Spaces/Features |  | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Washrooms
- Public Meeting Rooms
- Auditoriums
- Gymnasiums
- Pools
- Rinks
- Showers/Change Rooms
- Audience Areas/Stands
- Library Areas
- Fitness Rooms
- Information Areas
- Kitchens
- Confectionary Areas
- Common Areas
- Resident Living Spaces/Areas
- Other
- Other
- Other
- Other
|  |  | Interior Public Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Interior Working Spaces/Features for Municipal staff and Council |  | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Offices
- Staff Meeting Rooms
- Washrooms
- Kitchens
- Cafeterias/Eating Areas
- Council Chambers
- Garages
- Storage Rooms/Areas
- Maintenance Rooms Areas
- Electrical Rooms
- Mechanical Rooms
- Control Rooms
- Common Areas
- Other
- Other
- Other
- Other
|  |  | Interior Working Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Exterior Spaces/Features/ Amenities |  | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Parking Areas
- Pedestrian areas
- Playground Areas
- Recreational Areas/Spaces
- Other
- Other
- Other
- Other
|  |  | Exterior Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Special Building Services |  | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
|  |  | Special Building Services Capacity to Meet Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
|  |  | Total Capacity to Meet Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Per Facility | Operational Resiliency | To what degree are minimum service requirements are maintained/protected with back-up systems, spare capacity or alternative supply. | - Standby power generation
- Standby/spare equipment
- Alternative/multiple power feeds
|  | To what extent are the facilities secure from acts of vandalism, trespassing, theft, assault or terrorism. | - Adequate interior facility security features
- Adequate site security features
|  |  | Average Operational Resiliency ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Per Facility | Environmental Resiliency | To what extent the assets are resilient to environmental stresses; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc.. | - Facilities are protected from 100 year storm events
|  | To what extent are the facilities resilient to climate change. | - Climate change adaptation measures are in place
|  |  | Average Environmental Resiliency ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Total Performance
Notes: 1. | ALOS criteria may require amendments according to building type and service functions.
2. | Consider the level of conformance to Operational Functionality, Capacity to meet Demands, Operational Resiliency and Environmental Resiliency in the context of the General Performance Ratings (Tab 5).
3. | ALOS Performance Weightings
Weightings
| 1 | Unimportant
| 2 | Relatively Unimportant
| 3 | Relatively Important
| 4 | Important
| 5 | Very Important
4. | If weightings are to be applied, they must be applied to ALL the asset performance ratings.
5. | ALOS Performance Ratings
| 1 | Very Good
| 2 | Good
| 3 | Fair
| 4 | Poor
| 5 | Very Poor
| 0 | N/A
6. | If additional rows or columns are required to be added, the sheet needs to be "Unprotected". When adding Rows, copy the row and paste between two criteria's by clicking "Insert Copied Row". This will allow formulas to be copied and pasted. There is no password to Unprotect the sheet.
7. | This worksheet can be used to evaluate up to four assets within the same Asset Class and the sheet can be replicated to evaluate additional assets.

## 9. Facility Asset Class Perf
|  |  |  | Asset Class Name | [7 empty] | Asset Class Name | [7 empty] | Asset Class Name | [7 empty] | Asset Class Name
Asset Types/Groups8 | ALOS | Context for Evaluating Performance Criteria1,2 | Criteria to Support Proposed ALOS Target1, 2 (where information is available) | Weightings based on importance to ALOS5, 6 (Optional) | Distribution of Asset Ratings for each ALOS3, 4 | [6 empty] | Weightings based on importance to ALOS5, 6 (Optional) | Distribution of Asset Ratings for each ALOS3, 4 | [6 empty] | Weightings based on importance to ALOS5, 6 (Optional) | Distribution of Asset Ratings for each ALOS3, 4 | [6 empty] | Weightings based on importance to ALOS5, 6 (Optional) | Distribution of Asset Ratings for each ALOS3, 4
[5 empty] | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL |  | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL |  | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL |  | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL
Interior Building Services | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Building energy use is efficient
- Building meets greenhouse gas emission targets
- Building technology is efficient
- Building technology is current
- HVAC systems are efficient year round
- HVAC technology is current/code compliant
- Interior lighting is sufficient for all areas
- Interior lighting technology is current/code compliant
- Fire suppression system is efficient
- Fire suppression system technology is current/code compliant
- Fire alarm system technology is current/code compliant
- Electrical system is efficient
- Electrical system technology is current/code compliant
- Domestic water systems are efficient
- Domestic water systems technology is current/code compliant
- Wastewater systems are efficient
- Wastewater system technology is current/code compliant
- Elevator systems operate efficiently
- Elevator systems technology is current/code compliant
- Other
- Other
- Other
- Other
|  |  | Average Interior Building Services Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Building Services Operational Functionality
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Building technology is adequate
- HVAC system capacity is adequate
- Fire suppression system capacity is adequate
- Electrical system capacity is adequate
- Domestic water system capacity is adequate
- Wastewater system capacity is adequate
- Elevator system capacity is adequate
- Other
- Other
- Other
- Other
|  |  | Average Interior Building Services Capacity to Meets Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Building Services Capacity to Meets Demands
Exterior Building Services | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Electricity system is efficient
- Electricity system is current/code compliant
- Lighting system is sufficient for all areas
- Lighting system is current/code compliant
- Fire suppression system is efficient
- Fire suppression system is current/code compliant
- Domestic water system is efficient
- Wastewater system is efficient
- Storm water drainage systems are efficient
- Solid waste disposal is efficient
- Other
- Other
- Other
- Other
|  |  | Average Exterior Building Services Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Exterior Building Services Operational Functionality
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Electricity system
- Fire suppression system
- Domestic water system
- Wastewater system
- Storm water drainage systems
- Solid waste disposal
- Other
- Other
- Other
- Other
|  |  | Average Exterior Building Services Capacity to Meet Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Exterior Building Services Capacity to Meet Demands
Interior Public Spaces/Features | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Washrooms
- Public Meeting Rooms
- Auditoriums
- Gymnasiums
- Pools
- Rinks
- Showers/Change Rooms
- Audience Areas/Stands
- Library Areas
- Fitness Rooms
- Information Areas
- Kitchens
- Confectionary Areas
- Common Areas
- Resident Living Spaces/Areas
- Other
- Other
- Other
- Other
|  |  | Average Interior Public Spaces/Features Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Public Spaces/Features Operational Functionality
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Washrooms
- Public Meeting Rooms
- Auditoriums
- Gymnasiums
- Pools
- Rinks
- Showers/Change Rooms
- Audience Areas/Stands
- Library Areas
- Fitness Rooms
- Information Areas
- Kitchens
- Confectionary Areas
- Common Areas
- Resident Living Spaces/Areas
- Other
- Other
- Other
- Other
|  |  | Average Interior Public Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Public Spaces/Features Capacity to Meet Demands
Interior Public Amenities/Features | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Wayfinding is easy and efficient
- Public access is easy and accommodating
- Fully compliant with AODA
- Wi-Fi/Internet is adequate
- Other
- Other
- Other
- Other
|  |  | Average Interior Public Amenities/Features Interior Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Public Amenities/Features Interior Operational Functionality
Interior Working Spaces/Features for Municipal staff and Council | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Offices
- Staff Meeting Rooms
- Washrooms
- Kitchens
- Cafeterias/Eating Areas
- Council Chambers
- Garages
- Storage Rooms/Areas
- Maintenance Rooms/Areas
- Electrical Rooms
- Mechanical Rooms
- Control Rooms
- Common Areas
- Other
- Other
- Other
- Other
|  |  | Average Interior Working Spaces/Features Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Working Spaces/Features Operational Functionality
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Offices
- Staff Meeting Rooms
- Washrooms
- Kitchens
- Cafeterias/Eating Areas
- Council Chambers
- Garages
- Storage Rooms/Areas
- Maintenance Rooms Areas
- Electrical Rooms
- Mechanical Rooms
- Control Rooms
- Common Areas
- Other
- Other
- Other
- Other
|  |  | Average Interior Working Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Working Spaces/Features Capacity to Meet Demands
Interior Working Amenities for Municipal Staff and Council | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Fully compliant with AODA
- Wi-Fi/Internet is adequate
- Other
- Other
- Other
- Other
|  |  | Average Interior Working Amenities/Features Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Interior Working Amenities/Features Operational Functionality
Exterior Spaces/Features/ Amenities | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Wayfinding is easy and efficient
- Wayfinding is AODA compliant
- Pedestrian access is easy and accommodating
- Pedestrian access is safe and well lighted
- Pedestrian access is AODA compliant
- Vehicular access is easy and accommodating
- Vehicular access is safe and well lighted
- Accommodates efficient movement and parking of vehicles
- Playground areas are modern and accommodating
- Playground areas are safe and well lighted
- Playground areas are AODA compliant
- Recreational spaces/areas are modern and accommodating
- Recreational spaces/areas are safe and well lighted
- Recreational spaces/areas are AODA compliant
- Appropriate layout and appearance of landscaping
- Other
- Other
- Other
- Other
|  |  | Average Exterior Spaces/Features Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Exterior Spaces/Features Operational Functionality
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Parking Areas
- Pedestrian areas
- Playground Areas
- Recreational Areas/Spaces
- Other
- Other
- Other
- Other
|  |  | Average Exterior Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Exterior Spaces/Features Capacity to Meet Demands
Special Building Services | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
|  |  | Average Special Building Services Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Special Building Services Operational Functionality
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
|  |  | Average Special Building Services Capacity to Meet Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Special Building Services Capacity to Meet Demands
Per Facility Class | Operational Resiliency | To what degree are minimum service requirements are maintained/protected with back-up systems, spare capacity or alternative supply. | - Standby power generation
- Standby/spare equipment
- Alternative/multiple power feeds
|  | To what extent are the facilities secure from acts of vandalism, trespassing, theft, assault or terrorism. | - Adequate interior facility security features
- Adequate site security features
|  |  | Average Operational Resiliency ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Operational Resiliency
Per Facility Class | Environmental Resiliency | To what extent the assets are resilient to environmental stresses; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc.. | - Facilities are protected from 100 year storm events
|  | To what extent are the facilities resilient to climate change. | - Climate change adaptation measures are in place
|  |  | Average Environmental Resiliency ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Environmental Resiliency
Total Performance | [10 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
Notes: 1. | ALOS criteria may require amendments according to building type and service functions.
2. | Consider the level of conformance to Operational Functionality, Capacity to Meet Demands, Operational Resiliency and Environmental Resiliency in the context of the General Performance Ratings (Tab 5).
3. | This evaluation is intended as a "desktop exercise" to evaluate each asset class based on inherent knowledge of the system and its current ability to meet community service levels. Where information or experienced judgement is not available to assess some criteria or the criteria is not applicable, mark "100" under "NA" (Not Available/Applicable) to remove this criteria from the evaluation. Consider if the missing data or information should be included as part of a data collection plan.
4. | Distribute the different performance as a percentage of the entire Asset Class.
5. | ALOS Performance Weightings
Weightings
| 1 | Unimportant
| 2 | Relatively Unimportant
| 3 | Relatively Important
| 4 | Important
| 5 | Very Important
6. | If weightings are to be applied, they must be applied to ALL the asset performance ratings.
7. | If additional rows or columns are required to be added, the sheet needs to be "Unprotected". This will allow formulas to be copied and pasted. There is no password to Unprotect the sheet.
8. | This worksheet can be used to evaluate up to four Facility Asset Classes. Replicate the sheet to evaluate additional Asset Classes.

## 10. Facility Asset Perf Eval.
|  |  |  | Asset Name |  |  | Asset Name |  |  | Asset Name |  |  | Asset Name
Asset Types/Groups7 | ALOS | Context for Evaluating Performance Criteria1,2 | Criteria to Support Proposed ALOS Target1, 2 (where information is available) | Weightings based on importance to ALOS3, 4 (Optional) | Asset Ratings for each ALOS5 | TOTAL | Weightings based on importance to ALOS3, 4 (Optional) | Asset Ratings for each ALOS5 | TOTAL | Weightings based on importance to ALOS3, 4 (Optional) | Asset Ratings for each ALOS5 | TOTAL | Weightings based on importance to ALOS3, 4 (Optional) | Asset Ratings for each ALOS5 | TOTAL
Interior Building Services | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Building energy use is efficient
- Building meets greenhouse gas emission targets
- Building technology is efficient
- Building technology is current
- HVAC systems are efficient year round
- HVAC technology is current/code compliant
- Interior lighting is sufficient for all areas
- Interior lighting technology is current/code compliant
- Fire suppression system is efficient
- Fire suppression system technology is current/code compliant
- Fire alarm system technology is current/code compliant
- Electrical system is efficient
- Electrical system technology is current/code compliant
- Domestic water systems are efficient
- Domestic water systems technology is current/code compliant
- Wastewater systems are efficient
- Wastewater system technology is current/code compliant
- Elevator systems operate efficiently
- Elevator systems technology is current/code compliant
- Other
- Other
- Other
- Other
|  |  | Interior Building Services Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Building technology is adequate
- HVAC system capacity is adequate
- Fire suppression system capacity is adequate
- Electrical system capacity is adequate
- Domestic water system capacity is adequate
- Wastewater system capacity is adequate
- Elevator system capacity is adequate
- Other
- Other
- Other
- Other
|  |  | Interior Building Services Capacity to Meets Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Exterior Building Services | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Electricity system is efficient
- Electricity system is current/code compliant
- Lighting system is sufficient for all areas
- Lighting system is current/code compliant
- Fire suppression system is efficient
- Fire suppression system is current/code compliant
- Domestic water system is efficient
- Wastewater system is efficient
- Storm water drainage systems are efficient
- Solid waste disposal is efficient
- Other
- Other
- Other
- Other
|  |  | Exterior Building Services Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Electricity system
- Fire suppression system
- Domestic water system
- Wastewater system
- Storm water drainage systems
- Solid waste disposal
- Other
- Other
- Other
- Other
|  |  | Exterior Building Services Capacity to Meet Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Interior Public Spaces/Features | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Washrooms
- Public Meeting Rooms
- Auditoriums
- Gymnasiums
- Pools
- Rinks
- Showers/Change Rooms
- Audience Areas/Stands
- Library Areas
- Fitness Rooms
- Information Areas
- Kitchens
- Confectionary Areas
- Common Areas
- Resident Living Spaces/Areas
- Other
- Other
- Other
- Other
|  |  | Interior Public Spaces/Features Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Washrooms
- Public Meeting Rooms
- Auditoriums
- Gymnasiums
- Pools
- Rinks
- Showers/Change Rooms
- Audience Areas/Stands
- Library Areas
- Fitness Rooms
- Information Areas
- Kitchens
- Confectionary Areas
- Common Areas
- Resident Living Spaces/Areas
- Other
- Other
- Other
- Other
|  |  | Interior Public Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Interior Public Amenities/Features | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Wayfinding is easy and efficient
- Public access is easy and accommodating
- Fully compliant with AODA
- Wi-Fi/Internet is adequate
- Other
- Other
- Other
- Other
|  |  | Interior Public Amenities/Features Interior Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Interior Working Spaces/Features for Municipal staff and Council | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology including Wi-Fi/internet | - Offices
- Staff Meeting Rooms
- Washrooms
- Kitchens
- Cafeterias/Eating Areas
- Council Chambers
- Garages
- Storage Rooms/Areas
- Maintenance Rooms/Areas
- Electrical Rooms
- Mechanical Rooms
- Control Rooms
- Common Areas
- Other
- Other
- Other
- Other
|  |  | Interior Working Spaces/Features Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Offices
- Staff Meeting Rooms
- Washrooms
- Kitchens
- Cafeterias/Eating Areas
- Council Chambers
- Garages
- Storage Rooms/Areas
- Maintenance Rooms Areas
- Electrical Rooms
- Mechanical Rooms
- Control Rooms
- Common Areas
- Other
- Other
- Other
- Other
|  |  | Interior Working Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Interior Working Amenities for Municipal Staff and Council | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Fully compliant with AODA
- Wi-Fi/Internet is adequate
- Other
- Other
- Other
- Other
|  |  | Interior Working Amenities/Features Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Exterior Spaces/Features | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology | - Wayfinding is easy and efficient
- Wayfinding is AODA compliant
- Pedestrian access is easy and accommodating
- Pedestrian access is safe and well lighted
- Pedestrian access is AODA compliant
- Vehicular access is easy and accommodating
- Vehicular access is safe and well lighted
- Accommodates efficient movement and parking of vehicles
- Playground areas are modern and accommodating
- Playground areas are safe and well lighted
- Playground areas are AODA compliant
- Recreational spaces/areas are modern and accommodating
- Recreational spaces/areas are safe and well lighted
- Recreational spaces/areas are AODA compliant
- Appropriate layout and appearance of landscaping
- Other
- Other
- Other
- Other
|  |  | Exterior Spaces/Features Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Parking Areas
- Pedestrian areas
- Playground Areas
- Recreational Areas/Spaces
- Other
- Other
- Other
- Other
|  |  | Exterior Spaces/Features Capacity to Meet Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Exterior Spaces/Features/ Amenities | Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | - Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
|  |  | Special Building Services Operational Functionality ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
| Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | - Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
- Other
|  |  | Special Building Services Capacity to Meet Demands ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Per Facility | Operational Resiliency | To what degree are minimum service requirements are maintained/protected with back-up systems, spare capacity or alternative supply. | - Standby power generation
- Standby/spare equipment
- Alternative/multiple power feeds
|  | To what extent are the facilities secure from acts of vandalism, trespassing, theft, assault or terrorism. | - Adequate interior facility security features
- Adequate site security features
|  |  | Average Operational Resiliency ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Per Facility | Environmental Resiliency | To what extent the assets are resilient to environmental stresses; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc.. | - Facilities are protected from 100 year storm events
|  | To what extent are the facilities resilient to climate change. | - Climate change adaptation measures are in place
|  |  | Average Environmental Resiliency ALOS Ratings | 0 |  |  | 0 |  |  | 0 |  |  | 0
Total Performance
Notes: 1. | ALOS criteria may require amendments according to building type and service functions.
2. | Consider the level of conformance to Operational Functionality, Capacity to Meet Demands, Operational Resiliency and Environmental Resiliency in the context of the General Performance Ratings (Tab 5).
3. | ALOS Performance Weightings
Weightings
| 1 | Unimportant
| 2 | Relatively Unimportant
| 3 | Relatively Important
| 4 | Important
| 5 | Very Important
4. | If weightings are to be applied, they must be applied to ALL the asset performance ratings.
5. | ALOS Performance Ratings
| 1 | Very Good
| 2 | Good
| 3 | Fair
| 4 | Poor
| 5 | Very Poor
| 0 | N/A
6. | If additional rows or columns are required to be added, the sheet needs to be "Unprotected". When adding Rows, copy the row and paste between two criteria's by clicking "Insert Copied Row". This will allow formulas to be copied and pasted. There is no password to Unprotect the sheet.
7. | This worksheet can be used to evaluate up to four assets within the same Asset Class and the sheet can be replicated to evaluate additional assets.

## 11. Generic Asset Class Eval.
|  |  | Asset Class Name | [7 empty] | Asset Class Name | [7 empty] | Asset Class Name | [7 empty] | Asset Class Name
Asset Types/Groups6 | ALOS | Performance Criteria1 | Weightings based on importance to ALOS2, 3 (Optional) | Distribution of Asset Ratings for each ALOS7, 8 | [6 empty] | Weightings based on importance to ALOS2, 3 (Optional) | Distribution of Asset Ratings for each ALOS7, 8 | [6 empty] | Weightings based on importance to ALOS2, 3 (Optional) | Distribution of Asset Ratings for each ALOS7, 8 | [6 empty] | Weightings based on importance to ALOS2, 3 (Optional) | Distribution of Asset Ratings for each ALOS7, 8
|  |  |  | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL |  | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL |  | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL |  | % Very Good | % Good | % Fair | % Poor | % Very Poor | % NA | TOTAL
All | Operational Functionality | Efficiency and effectiveness of service delivery/provision
Ability to meet minimum current design and/or safety requirements
Level of operational problems experienced.
Level of noticeable affects to customers or services due to operational problems
Compliance with current Regulations and/or Standards (including levels of permitted "grandfathering")
Level/number of required elements present.
Relevance and effectiveness of technology
Efficiency of resource consumption
|  | Average Operational Functionality ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Operational Functionality
| Capacity to Meet Demands | To what degree capacity satisfies current demands and minimum community service levels
Level of operational problems experienced.
Are there noticeable negative affects on community service levels or stakeholders (residents and businesses)
|  | Average Capacity to Meets Demands ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Capacity to Meets Demands
| Operational Resiliency | To what degree are minimum service requirements are maintained/protected with back-up systems, spare capacity or alternative supply.
To what extent are the facilities secure from acts of vandalism, trespassing, theft, assault or terrorism.
|  | Average Operational Resiliency ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Operational Resiliency
| Environmental Resiliency | To what extent the assets are resilient to environmental stresses; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc..
To what extent are the facilities resilient to climate change.
|  | Average Environmental Resiliency ALOS Ratings | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0 | 0 | [6 empty] | 0
ALOS Rating - Environmental Resiliency
Total Performance | [9 empty] | 0 | [7 empty] | 0 | [7 empty] | 0 | [7 empty] | 0
Notes: 1. | Consider the level of conformance to Operational Functionality, Capacity to Meet Demands, Operational Resiliency and Environmental Resiliency in the context of the General Performance Ratings (Tab 5).
2. | ALOS Performance Weightings
Weightings
| 1 | Unimportant
| 2 | Relatively Unimportant
| 3 | Relatively Important
| 4 | Important
| 5 | Very Important
3. | If weightings are to be applied, they must be applied to ALL the asset performance ratings.
4. | ALOS Performance Ratings
| 1 | Very Good
| 2 | Good
| 3 | Fair
| 4 | Poor
| 5 | Very Poor
| 0 | N/A
5. | If additional rows or columns are required to be added, the sheet needs to be "Unprotected". When adding Rows, copy the row and paste between two criteria's by clicking "Insert Copied Row". This will allow formulas to be copied and pasted. There is no password to Unprotect the sheet.
6. | This worksheet can be used to evaluate up to four Asset Classes. Replicate the sheet as often as necessary or additional columns can be added for each additional asset in the Asset Class (formulas will be required to be copied over).
7. | This evaluation is intended as a "desktop exercise" to evaluate each asset class based on inherent knowledge of the system and its current ability to meet community service levels. Where information or experienced judgement is not available to assess some criteria or the criteria is not applicable, mark "100" under "NA" (Not Available/Applicable) to remove this criteria from the evaluation. Consider if the missing data or information should be included as part of a data collection plan.
8. | Distribute the different performance as a percentage of the entire Asset Class.

## 12. Generic Asset Evaluation
Asset Name6 | ALOS | Performance Critera1 | Weightings based on importance to ALOS2, 3 (Optional) | Asset Ratings for each ALOS4 | TOTAL
| Operational Functionality | Efficiency and effectiveness of service delivery/provision
Ability to meet minimum current design and/or safety requirements
Level of operational problems experienced.
Level of noticeable affects to customers or services due to operational problems
Compliance with current Regulations and/or Standards (including levels of permitted "grandfathering")
Level/number of required elements present.
Relevance and effectiveness of technology
Efficiency of resource consumption
|  | Average Operational Functionality ALOS Rating | 0
| Capacity to Meet Demands | The degree to which capacity satisfies current demands and minimum community service levels
Level of operational problems related to capacity
Level of noticeable affects to customers due to capacity shortfall
|  | Average Capacity to Meet Demands ALOS Rating | 0
| Operational Resiliency | Level of surplus capacity for emergency or extraordinary operating conditions
Level of back-up capacity/units to maintain critical systems and services during emergency conditions.
Availability of alternative sources for emergency service provision
To what extent the assets are secure from acts of vandalism, trespassing, theft, assault or terrorism.
|  | Average Operational Resiliency ALSO Rating | 0
| Environmental Resiliency | To what extent the assets are resilient to environmental stresses; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc..
To what extent are the assets resilient to the affects of climate change.
|  | Average Environmental Resiliency ALOS Rating | 0
Total Performance |  |  |  | 0
Notes: 1. | Consider the level of conformance to Operational Functionality, Capacity to Meet Demands, Operational Resiliency and Environmental Resiliency in the context of the General Performance Ratings (Tab 5).
2. | ALOS Performance Weightings
Weightings
| 1 | Unimportant
| 2 | Relatively Unimportant
| 3 | Relatively Important
| 4 | Important
| 5 | Very Important
3. | If weightings are to be applied, they must be applied to ALL the asset performance ratings.
4. | ALOS Performance Ratings
| 1 | Very Good
| 2 | Good
| 3 | Fair
| 4 | Poor
| 5 | Very Poor
| 0 | N/A
5. | If additional rows or columns are required to be added, the sheet needs to be "Unprotected". When adding Rows, copy the row and paste between two criteria's by clicking "Insert Copied Row". This will allow formulas to be copied and pasted. There is no password to Unprotect the sheet.
6. | This worksheet should be applied once for each asset type and replicated as often as necessary or additional columns can be added for each additional asset in the Asset Class (formulas will be required to be copied over).

## A. Building Summary ALOS Info
ALOS Type | Asset Classes/Types | Rating Method | Distribution by Asset Ratings (Assets as a % of the Total Asset Class) and Corresponding Likelihood of Failure1
|  |  | Very Unlikely <10% | Unlikely 10%-30% | Possible 30%-60% | Likely 60%-90% | Very Likely >90%
Condition | All Facilities | Facility Condition Index | FCI = 1-2% Very Good - Fully functional. - All components and equipment operate and are well maintained. - New appearance . No evidence of deterioration or discolouration - Minor aesthetic improvements like painting - Regular maintenance only - No or very few public complaints - Staff morale is very positive | FCI = 3%-5% Good - Fully functional - All components and equipment operate with some minor wear and tear. - Limited and manageable component and equipment failure may occur - Showing minor wear and tear and minor deterioration of surfaces. - Improvements such as painting, carpet replacement, caulking and minor roof repair may be necessary - Increased regular maintenance and inspection may required. - Few and minor Public complaints - Staff morale is positive | FCI = 6% -10% Fair - Beginning to show wear - Component and equipment failures are more frequent - Appearance affected by minor cracking, staining or minor leakage. Minor damage to wall/ceiling finishes. - Improvements such as replacements of specific system components such as boilers and windows or interior renovations - Regular maintenance and inspections are essential with additional maintenance required at times - More frequent and moderate levels of Public complaints - Staff moral may be affected | FCI = 11% - 30% Poor - Obvious and increasing wear and deterioration - Frequent component and equipment failures. - Occasional building shut down is possible - Appearance affected by cracking, staining or breakdowns. Finishes of poor quality and often damaged. - Replacements of major systems such as HVAC, plumbing, building envelop is required - Increasingly frequent reactive maintenance in addition to regular maintenance activities - High and frequent levels of Public complaints - Staff morale is negative | Very Likely: FCI >30% Critical - Very worn and obviously increasing levels of deterioration - Component and equipment failure occurring frequently - Building systems may be inoperable or unsafe - Management risk is high - Occupant health and safety is a concern - Occasional building shut down likely to occur - Appearance affected by cracking, staining or breakdowns. Finishes badly marked and damaged - Replacement of multiple building systems required such as mechanical and electrical systems, structural and architectural elements - Building may not be cost effective to restore - Maintenance is almost completely reactive and high - Public complaints are very high, frequent and very difficult to manage - Staff morale is very low
Performance | All | Generic Rating | Very Good | Good | Fair | Poor | Very Poor
|  | Operational Functionality | Exceeds or fully meets performance requirements. No affect to services | Meets performance requirements. No affect to services | Just meets performance requirements with some limitations Possible minor affects to services. | Does not meet several performance requirements in whole or in part. Minor to moderate and/or sporadic affects to services | Does not meet many or most performance requirements as a whole. Moderate to significant and/or ongoing affects to services.
Capacity to Meet Demands
Operational Resiliency
Environmental Resiliency
Notes: 1. | Likelihood of Failure is an estimate of the timespan (Condition) or the level of viability (Performance) that assets, asset components or asset systems are expected to provide adequate, safe and reliable Community Levels of Service (CLOS) but at increasing levels of risk as assets/asset components degrade as the end of service life approaches.
2. | The total lifespan of an asset often extends beyond Estimated Useful Service Life; however, the assets may no longer be sufficient, safe, viable, economical or reliable to provide safe and desired community services. Note that Likelihood of Failure provides high level estimates for strategic risk assessments purposes and can vary on an asset by asset basis according the environment, soil conditions, design, materials and use.

## B. Facility ALOS Mapping
ALOS Category | Information Sources/Inputs | Scope of Facility Assessments |  | Target ALOS | Current ALOS
|  | Uniformat II Standard | Assessment Outcomes
Condition | - Building Condition Assessments | A. Substructure | - Information on the condition and integrity of mechanical, electrical and structural elements and systems | FCI = 5% to 10% ('Good' to 'Fair') Depending on building use and type | FCI = X%
B. Shell
| - Facility Condition Index (FCI) | C. Interiors
|  | D. Services | - Information on compliance with existing codes and regulations
|  | E. Equipment & Furnishings | - A Facility Condition Index to rate the overall condition of the building.
F. Special Construction & Demolition
G. Building Sitework
| Information inputs to the AMONTario Performance Evaluation Sheets (Tabs 7, 8, 9 or 10) | Performance ALOS Measures | Assessment Outcomes
Performance | - Staff Assessments - Space Planning Studies - Emergency Preparedness Plans - Energy Management Plans - Climate Change Adaptation Plans | Operational Functionality: - Interior/Exterior Building Services - Interior Public Spaces & Amenities - Interior Staff Spaces & Amenities - Exterior Spaces, Features & Amenities - Special Building Services | A rating for the efficiency and effectiveness of the design and operations of building spaces and services to meet service requirements | Rating = 'Good' May accept 'Fair' for less critical, non-public, less energy intensive or very basic buildings. All building types relative to use and service requirements | A rating between 'Very Good' to 'Very Poor'
|  | Capacity to Meet Demands: - Interior/Exterior Building Services - Interior Public Spaces & Amenities - Interior Staff Spaces & Amenities - Exterior Spaces, Features & Amenities - Special Building Services | A rating of the capacity of internal and external services and space uses to meet service requirements
|  | Operational Resiliency | A rating of the sufficiency of back-up systems to continue building and service operations
A rating on the Security of the site and occupancy against harmful threats and damage
|  | Environmental Resiliency | A rating on the ability and adaptability to address climate change

## C. ALOS Framework
AMONTario Asset Level of Service Framework
Condition Levels of Service (Tab 4) |  |  |  | Performance Levels of Service (Tabs 5-9)
ALOS Measures | Corresponding Likelihood of Failure Measures |  |  | ALOS Measures |  | Corresponding Likelihood of Failure Measures
PCI, BCI, FCI, PACP, General Ratings (“Very Good” to “Very Poor”), Maximum Age, etc. | Risk Ratings | Estimated Timeframe | % LoF | 1. Operational Functionality 2. Capacity to Meet Demands 3. Operational Resiliency 4. Environmental Resiliency | ALOS Rating | Risk Ratings | % LoF
| Very Unlikely | >20 yrs. | <10% |  | Very Good | Very Unlikely | <10%
| Unlikely | 11-20 yrs. | 10%-30% |  | Good | Unlikely | 10%-30%
| Possible | 6-10 yrs. | 30%-60% |  | Fair | Possible | 30%-60%
| Likely | 1-5 yrs. | 60%-90% |  | Poor | Likely | 60%-90%
| Very Likely or Certain | <1 yr. | >90% |  | Very Poor | Very Likely or Certain | >90%

## D. ALOS to CLOS Mapping
ALOS Categories | General ALOS Measurement Criteria | Predominant Community Service Outcomes
|  | Health & Safety | Reliability | Quality | Quantity | Efficiency | Accessibility
Condition | Physical state of the asset measured by condition rating systems (PCI, BCI, FCI, PACP, Number of Breaks, Very Good to Very Poor etc.) | X | X | X | X | X
Operational Functionality | - Efficiency and effectiveness of service delivery - Ability to meet minimum current design and/or safety requirements - Level of operational problems experienced and whether they affect community services. - Compliance with current Regulations and/or Standards (including the level of "grandfathering") - Whether all required elements are present. - Relevance and effectiveness of technology - Efficiency of resource consumption | X | X | X |  | X | X
Capacity to Meet Demands | - To what degree capacity satisfies current demands and minimum community service levels - Level of operational problems experienced. - Are there noticeable negative affects on community service levels or stakeholders (residents and businesses) | X | X | X | X | X | X
Operational Resiliency | - To what degree minimum service requirements are maintained/protected with back-up systems, spare capacity or alternative supply. - To what extent the assets are secure from acts of vandalism, trespassing, theft, assault or terrorism. | X | X
Environmental Resiliency | - To what extent the assets are resilient to environmental stresses; e.g. impacts from wind, fire, flooding, excessive rainfall/snowfall etc.. - To what extent are the assets resilient to the affects of climate change. | X | X |  |  |  | X